## BSCI 2400W Automatic Ultrasonic Cleaner 175L With Filtration Hot Air Drying

## Product Details:

| Place of Origin: | Shenzhen, China |
| --- | --- |
| Brand Name: | Skymen |
| Certification: | RoHS, CE, FCC, SGS |
| Model Number: | JTM-3096AD |
| Document: | Product Brochure PDF |

Payment & Shipping Terms:

| Minimum Order Quantity: | 1 |
| --- | --- |
| Price: | Negotiation |
| Packaging Details: | Wooden case |
| Delivery Time: | In Stock |
| Payment Terms: | T/T |
| Supply Ability: | 800 pcs per month |

Specification sheet:

| 1 | Model | JTM-3096AD |  |
| --- | --- | --- | --- |
| 2 | 1st Chamber | Function | Ultrasonic cleaning + Filter+ Hot water cleaning |
|  |  | Ultrasonic Frequency | 28/40kHz (other frequency can be customized) |
|  |  | Tank Material | SUS 304 (SUS 316 can be customized) |
|  |  | Thickness of tank | 2mm |
|  |  | Inner tank dimension | 700*500*500mm |
|  |  | Tank Capacity | 175L |
|  |  | Transducer | 48pcs |
|  |  | Ultrasonic Power | 2400W |
|  |  | Heating Power | 6000W |
|  |  | Time setting of Ultrasonic | 0~99 hours |
|  |  | Temperature setting | Room temperature ~ 95°C adjustable |
|  |  | Drain value | Yes |
|  |  | Water inlet/outlet | Yes |
|  |  | Filter | 1 set, connect with 1st tank |
|  |  | Size of filter tank | 500*300*300mm |
|  |  | Filtet element precision | 5/10μ |
|  |  | Generator | 1pcs |
|  |  | Generator power control | 2400W |
|  |  | Basket | Yes |
|  |  | Basket load | 150KG |
| 3 | 2nd Chamber | Function | Ultrasonic cleaning + Bubbling + Hot water cleaning |
|  |  | Ultrasonic Frequency | 28/40kHz (other frequency can be customized) |
|  |  | Tank Material | SUS 304 (SUS 316 can be customized) |
|  |  | Thickness of tank | 2mm |
|  |  | Inner tank dimension | 700*500*500mm |
|  |  | Tank Capacity | 175L |
|  |  | Transducer | 48pcs |
|  |  | Ultrasonic Power | 2400W |
|  |  | Heating Power | 6000W |
|  |  | Time setting of Ultrasonic | 0~99 hours |
|  |  | Temperature setting | Room temperature ~ 95°C adjustable |
|  |  | Drain value | Yes |
|  |  | Water inlet/outlet | Yes |
|  |  | Bubbling system | Yes, air compressor is provided by user |
|  |  | Generator | 1pcs |
|  |  | Generator power control | 2400W |
|  |  | Basket | Yes |
|  |  | Basket load | 150KG |
| 3 | 3rd Chamber | Function | Hot air drying tank |
|  |  | Inner tank dimension | 600*500*450mm |
|  |  | Turbines power | 750W |
|  |  | Dryer power | 3000W |
| 4 | Working way of machine | Working way | Full automatic |
|  |  | Loading and unloding platform | Yes |
|  |  | Moving way of basket | By mechanical arm |
|  |  | Control way | PLC touch screen |
| 5 | Warranty | 1 year warranty for spare parts, all life technical support |  |
| 6 | Certificate | CE, RoHS; FCC, REACH |  |
| 7 | Production time | 35 working days after deposit |  |

SELECTION GUIDE

| Model | Size of every tank | Tank Volume | Ultrasonic Power | Heating Power of Ultrasonic tank | Heating Power of drying tank | Transducer |
| --- | --- | --- | --- | --- | --- | --- |
|  | L*W*H (mm) | (L) | (W) | (W) | 750W | (pcs) |
| JTM-3024AD | 500X300X250 | 38L*3 | 600W | 1500W*2 | 750W | 24pcs |
| JTM-3036AD | 500X350X300 | 53L*3 | 900W | 1500W*2 | 750W | 36pcs |
| JTM-3048AD | 550X400X350 | 77L*3 | 1200W | 3000W*2 | 750W | 48pcs |
| JTM-3060AD | 550X450X400 | 99L*3 | 1500W | 3000W*2 | 750W | 60pcs |
| JTM-3072AD | 600X500X450 | 135L*3 | 1800W | 4500W*2 | 750W | 72pcs |
| JTM-3096AD | 700X500X500 | 175L*3 | 2400W | 6000W*2 | 750W | 96pcs |
| JTM-3120AD | 800X600X550 | 264L*3 | 3000W | 6000W*2 | 750W | 120pcs |
| JTM-3144AD | 1000X600X600 | 360L*3 | 3600W | 9000W*2 | 750W | 144pcs |
| JTM-3216AD | 1000X900X600 | 540L*3 | 5400W | 18000W*2 | 1100W | 216pcs |
| JTM-3288AD | 12000*1000*800 | 960L*3 | 7200W | 24000W*2 | 1500W | 288pcs |